## Slide 2: CONTENT
GENERAL GUIDELINES
STUDENTS
PBL
RESEARCH AND RANKING
BUSINESS COLLABORATION
STRATEGY 2016-21

## Slide 3: Introduction, change random picture

## Slide 4: AAU – KNOWLEDGE FOR THE WORLD
All degree programmes and research activities at Aalborg University are problem and project-based and have an interdisciplinary focus.
Through strong interplay between staff and students and intense collaboration with public and private sectors, we offer degree programmes with a real-world approach and provide world-class research.
This results in new insights, new solutions to societal challenges and knowledge that changes the world.

## Slide 5: AAU – KNOWLEDGE FOR THE WORLD
All degree programmes and research activities at Aalborg University are problem and project-based and have an interdisciplinary focus.
Through strong interplay between staff and students and intense collaboration with public and private sectors, we offer degree programmes with a real-world approach and provide world-class research.
This results in new insights, new solutions to societal challenges and knowledge that changes the world.
Chart: 
| 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Aalborg University | 0 | 0 | 2 | 3 | 5 | 7 | 14 | 37 | 18 | 21 | 35 | 23 | 27 | 40 | 50 | 77
Other universities in total | 10 | 31 | 20 | 26 | 33 | 67 | 92 | 46 | 59 | 48 | 61 | 73 | 64 | 88 | 60 | 89

## Slide 6: Time Management Table
Name | Time holding breath under water | Time without criticizing work | Time used for eating | 
Nicolai | 29:10 | 29:10 | 20:00 | 
Thassilo | 10:02 | 10:02 | 20:00 | 
Aitor | 00:17 | 00:17 | 20:00 | 
Nicolas | 19:57 | 00:00 | ∞ | 

## Slide 7: Time Management Table
Add a nice looking caption if you have multiple figures at one slide
And make sure that they are better aligned than this…

## Slide 8: MPPT algorithm

## Slide 9: Initial MPPT implementation
Top figure: Conversion ratio for buck and boost modes.
Bottom figure: Mapping of the control variable valg for mode decision.
Mapping for mode decision:
If valg<0.5  Buck mode
If valg0.5  Boost mode
Incrementing valg means decreasing PV voltage!

## Slide 10: Initial MPPT implementation
Finite state machine for P&O algorithm
Problems:
“If/else” structure difficult to find errors
Variable step required more complex code
When crossing the MPP the control variable is reduced to half of its value iteratively!

## Slide 11: Fixed vs variable perturb step – Buck Mode
Oscillations around the MPP with fixed perturb step under STC.
Oscillations around the MPP with variable perturb step under STC.

## Slide 12: Fixed vs variable perturb step – Boost Mode
Oscillations around the MPP with fixed perturb step under STC.
Oscillations around the MPP with variable perturb step under STC.

## Slide 13: Test Results

## Slide 14
Components individually soldered and tested
Open-loop test for hardware validation
Model of the PV panel
Standard test conditions
Boundary between modes of operation
Sudden changes in environmental conditions
Converter’s efficiency

## Slide 15: PV panel curves
 | 1000 W/m2 | 800 W/m2 | 600 W/m2 | 400 W/m2
[V] | 36.9 | 36.87 | 36.68 | 36.19
[A] | 8.14 | 6.49 | 4.86 | 3.23
[W] | 300.4 | 239.5 | 178.5 | 117
 | 1000 W/m2 | 800 W/m2 | 600 W/m2 | 400 W/m2
 | 36.9 | 36.87 | 36.68 | 36.19
 | 8.14 | 6.49 | 4.86 | 3.23
 | 300.4 | 239.5 | 178.5 | 117
P-V curves for T=25ºC and varying irradiance.
I-V curves for T=25ºC and varying irradiance.
Irradiance effect:

## Slide 16: PV panel curves
 | 15ºC | 25ºC | 35ºC | 45ºC | 55ºC
[V] | 41.45 | 36.9 | 32.59 | 28.34 | 24.23
[A] | 7.33 | 8.14 | 8.85 | 9.59 | 10.12
[W] | 304.3 | 300.4 | 289.1 | 270.7 | 245.8
 | 15ºC | 25ºC | 35ºC | 45ºC | 55ºC
 | 41.45 | 36.9 | 32.59 | 28.34 | 24.23
 | 7.33 | 8.14 | 8.85 | 9.59 | 10.12
 | 304.3 | 300.4 | 289.1 | 270.7 | 245.8
P-V curves for 1000 W/m2 and varying temperature.
I-V curves for 1000 W/m2 and varying temperature.
Temperature effect:

## Slide 17: Standard Test Conditions (STC)
Simulated results under STC with .
Buck mode:
Experimental results under STC with .

## Slide 18: Standard Test Conditions (STC)
Simulated results under STC with .
Boost mode:
Experimental results under STC with .

## Slide 19: Boundary between modes of operation
Panel’s voltaje, current and power under STC with .
Buck mode:
Duty cycles and voltages under STC with .

## Slide 20: Boundary between modes of operation
Panel’s voltaje, current and power under STC with .
Boost mode:
Duty cycles and voltages under STC with .

## Slide 21: Sudden change in irradiance
Simulated results for 1000 - 800 W/m2 and constant temperature T=25ºC.
Experimental results for 1000 - 800 W/m2 and constant temperature T=25ºC.
Buck mode:

## Slide 22: Sudden change in temperature
Simulated results for 25 - 15 ºC and constant irradiance 1000 W/m2.
Experimental results for 25 - 15 ºC and constant irradiance 1000 W/m2.
Buck mode:

## Slide 23: Efficiency of the converter
Voltages and powers at the converter’s input and output in Buck mode under STC.

## Slide 24: Comparison simulation and experiments
Buck STC | Simulation | Experiment
 | 99.96% | 97.72%
 | 2 s | 10 s
Buck STC | Simulation | Experiment
 | 99.96% | 97.72%
 | 2 s | 10 s
Boost STC |  | 
 | 99.82% | 97.32%
 | 4 s | 21 s
Boost STC |  | 
 | 99.82% | 97.32%
 | 4 s | 21 s
Buck 1000 - 800 W/m2 |  | 
 | From 99.81% to 99.70% | From 95.96% to 93.78%
 | 0.5 s | 6.6 s
Buck 1000 - 800 W/m2 |  | 
 | From 99.81% to 99.70% | From 95.96% to 93.78%
 | 0.5 s | 6.6 s
Buck 25 - 15 ºC |  | 
 | From 99.81% to 99.90% | From 99.20% to 98.40%
 | 2 s | 4.1 s
Buck 25 - 15 ºC |  | 
 | From 99.81% to 99.90% | From 99.20% to 98.40%
 | 2 s | 4.1 s

## Slide 25: Discussion

## Slide 26: Converter design, change random picture

## Slide 27: Thank you for your attention
Questions?

## Slide 28: Bypass diodes vs MICs
Single bypass diode protects one sub-string (20 cells)
If high current flows through shaded cell  Power is consumed instead of produced!
Avoid hot-spots because the power consumed by the cell heats it up.
20% irradiance difference  bypass diode ON
Higher power losses than with MICs
Sub-string

## Slide 29: Bypass diodes vs MICs
Why using MICs improves power extraction?
Demonstration example: shaded cell at 80% irradiance
1st option: Bypass diode ON  9*10% + 1*6.6% = 96.6%
2nd option: Reduce current to 80% 80% of full power
3rd option: MPPT tracker  9*10% + 1*8% = 98%
Using MICs in each PV module  Increases power by 1.4%

## Slide 30: Bypass diodes vs MICs
Why using MICs improves power extraction?
Demonstration example: 30% shaded región
1st option: Bypass diodes ON  9*10% + 1*0% = 90%
2nd option: Reduce current to 70% 70% of full power
3rd option: MPPT tracker  9*10% + 1*7% = 97%
Using MICs in each PV module  Increases power by 7%