## Slide 1: DC-DC CONVERTER FOR PV MODULE INTEGRATION
Group MsC1 – 760
Estefanía Ruiz Thassilo Lang Aitor Terán Nicolás Murguizur Jesper Kloster Nicolai H. Fransen

## Slide 2: AGENDA
INTRODUCTION
  PV generation
  Module Integrated Converter (MIC)
CONVERTER TOPOLOGIES
  Selection of the MIC topology
PROBLEM ANALYSIS
  Problem statement
FUTURE WORK

## Slide 3: INTRODUCTION – PV generation
Photovoltaic effect
Irradiance Power Temperature Power
Basic diagram of a PV grid-tie with battery backup system

## Slide 4: AGENDA
INTRODUCTION
  PV generation
  Module Integrated Converter (MIC)
PROBLEM ANALYSIS
  Problem statement
FUTURE WORK

## Slide 5: INTRODUCTION – Module Integrated Converter
MICs DC-DC converters / Microinverters
MPPT Maximum Power Point Tracking
Maximum Power Point of generic solar panel [].

## Slide 6: AGENDA
INTRODUCTION
  PV generation
  Module Integrated Converter (MIC)
PROBLEM ANALYSIS
  Problem statement
FUTURE WORK

## Slide 7: CONVERTER TOPOLOGIES
Schematic Buck converter
Schematic Boost converter

## Slide 8: CONVERTER TOPOLOGIES
Galvanic isolation
Buck-boost (inductor split to form a transformer)
Schematic Flyback converter

## Slide 9: CONVERTER TOPOLOGIES
Non-inverting Buck-boost converter – 2 SW
Non-inverting Buck-boost converter – 4 SW
Full bridge Bidirectional

## Slide 10: CONVERTER TOPOLOGIES
Non-inverting Buck-boost converter – 2 SW
Non-inverting Buck-boost converter – 4 SW
Full bridge Bidirectional

## Slide 11: AGENDA
INTRODUCTION
  PV generation
  Module Integrated Converter (MIC)
CONVERTER TOPOLOGIES
  Selection of the MIC topology
PROBLEM ANALYSIS
  Problem statement
FUTURE WORK

## Slide 12: CONVERTER TOPOLOGIES – Selection of MIC topology
Buck and Boost converters limited to either or the voltage.
Flyback has η because of the transformer.
2-SW buck-boost has power loss.
4-SW Non-inverting buck-boost converter!!
Why? Bidirectional and Efficiency than the other topologies

## Slide 13: AGENDA
INTRODUCTION
    PV generation
    Module Integrated Converter (MIC)
PROBLEM ANALYSIS
    Problem statement
FUTURE WORK

## Slide 14: PROBLEM ANALYSIS
PV module being bypassed by a diode.
Mismatches  Lower power generation
Solution  Bypass diodes to keep the current flow
Problem  PV bypassed module power generation = 0 !
Advanced solution  Implementation of MICs
Non- inverting buck-boost converter for MPPT

## Slide 15: AGENDA
INTRODUCTION
    PV generation
    Module Integrated Converter (MIC)
PROBLEM ANALYSIS
    Problem statement
FUTURE WORK

## Slide 16: PROBLEM ANALYSIS - Problem statement
How can a module integrated converter be designed to maximize the PV power generation under real conditions?
Objectives:
    Design of DC-DC converter.
    MPPT techniques.
    Design of control system.
    Hardware implementation.
    Test & Validation using PV simulator.

## Slide 17: Group process

## Slide 18: Thank you
Questions? 