## Slide 1: Exercise
Each group characterizes one capacitor and one inductor
Send
1: electrical circuit model (Inductor: L,ESR
Capacitor: C, ESR, ESL)
2: measured model parameters
3: plot of impedance Z=f(Hz): include amplitude and angle plot as function of frequency on a logarithmic scale.
4: picture of inductor and capacitor
5: picture of measurement setup
6: type of instruments used
to
smn@et.aau.dk

## Slide 2: 1. Electrical circuit model
Circuit model of a Capacitor:
Circuit model of an Inductor:

## Slide 3: 2. Measured model parameters
Capacitor parameters (from figure):
Inductor parameters (from figure):

## Slide 4: 3/4. Plot of impedance Z=f(Hz) including amplitude and angle
Inductor measurement:
Frequency: 20Hz – 2MHz
Inductor type: ?

## Slide 5: 3/4. Plot of impedance Z=f(Hz) including amplitude and angle
Capacitor measurement:
Frequency: 20Hz – 2MHz
Capacitor type: CapXon 220 uF, 50V

## Slide 6: 6. Type of instruments used
Instrument:
Agilent E4980A
PC with LabView for controlling the frequency sweep